Immunohistochemistry Protocol for

Paraffin Embedded Tissue

Molecular Pathology & Imaging Core

Center for Molecular Studies of Digestive and Liver Diseases

Department of Medicine / Gastroenterology Division

University of Pennsylvania

I)  Tissue Fixation

- Embed tissue in OCT

- Section Tissue

- Allow Slides to Warm to Room Temperature			10 min at RT

- 10% Neutral Buffered Formalin				4 min

- Rinse in gently-running water					5 min

II)  Pretreatment of sections:

- Place slides out in hybridization box.  Wash 1X PBS 		5 min

Use hydrophobic pen to restrict subsequent volumes of

reagents applied to the sections

- Quench Endogenous peroxidases with 				15 min

3% Hydrogen Peroxide in diH2O

- Wash in diH2O 						5 min

- Block with Avidin D Blocking Reagent				15 min

- Wash in PBS							Quickly

- Block with Biotin Blocking Reagent				15 min

- Wash in PBS							Quickly

- Block with Protein Blocking Agent 				15 min

- Tap excess blocker off slide and proceed

with Ab immunohistochemistry

III)  Immunohistochemistry

- Primary Ab: Dilute in PBT					Overnight at 4°C

Dilution per manufacture’s instructions

Incubation times will vary

- Rinse and then wash in PBS 					2 X 5 min.

- Secondary Ab Conjugated to Biotin				30 min at 37°C

Dilute in PBT (1:200)

Mix HRP-conjugated ABC reagents

for step 5 at least 30 minutes beforehand!!

- Rinse in PBS 						2 X 5 min

- HRP-conjugated ABC reagent from Vector Elite Kit		30 min at 37°C

10µL Reagent A and 10µL reagent B in 1mL PBT

- Wash in PBS 						5 min

- Wash in diH2O						5 min

- Develop Signal with DAB Substrate Kit for Peroxidases		Up to 10 min

1 drop Buffer Solution, 2 Drops DAB Solution, and

1 drop Hydrogen Peroxide Solution in 2.5 mL diH2O

- Wash in diH2O to Stop Reaction

- Wash in Water						5 min

- Counter Stain with Gills #2 Hematoxylin			Quickly

Check for balance between Hematoxylin and DAB Staining

Redo if needed

- Rinse in gently-running water					2 min

- 70% EtOH							2 min

- 95% EtOH							2 min

- 100% EtOH							2 x 2 min

- Xylene							2 x 1 min

- Mount with Cytoseal and Coverslip

PBT per 50ml

H2O				43.5ml

10X PBS			  5.0ml	[1X]

10% BSA			  0.5ml	[0.1%]

10% Triton X-100		  1.0ml	[0.2%]

Supply List:

Citric Acid Monohydrate				Fisher #A104-500

Thermo Scientific Starting 			Fisher #PI-37539

Block T20 Blocking Buffer