| H & E Staining Protocol |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Step | Solution |  | Time (Min:Sec) |  |  |  |  |
| 1 | Xylene |  | 2:00 |  |  |  |  |
| 2 | Xylene |  | 2:00 |  |  |  |  |
| 3 | Xylene |  | 2:00 |  |  |  |  |
| 4 | 100% Alcohol |  | 1:00 |  |  |  |  |
| 5 | 100% Alcohol |  | 1:00 |  |  |  |  |
| 6 | 95% Alcohol |  | 1:00 |  |  |  |  |
| 7 | 70% Alcohol |  | 1:00 |  |  |  |  |
| 8 | Water Wash |  | 1:00 |  |  |  |  |
| 9 | Hematoxylin |  | 5:00 |  |  |  |  |
| 10 | Water Wash |  | 1:00 |  |  |  |  |
| 11 | Acid Alcohol |  | :10 |  |  |  |  |
| 12 | Water Wash |  | 1:00 |  |  |  |  |
| 13 | Ammonia Water |  | :30 |  |  |  |  |
| 14 | Water Wash |  | 1:00 |  |  |  |  |
| 15 | Eosin |  | :40 |  |  |  |  |
| 16 | 95% Alcohol |  | 1:00 |  |  |  |  |
| 17 | 100% Alcohol |  | 1:00 |  |  |  |  |
| 18 | 100% Alcohol |  | 1:00 |  |  |  |  |
| 19 | Xylene |  | :30 |  |  |  |  |
| 20 | Xylene |  | :30 |  |  |  |  |
| 21 | Xylene |  | 1:00 |  |  |  |  |
| 22 | Coverslip and Mount |  |  |  |  |  |  |

Molecular Pathology & Imaging Core

Frozen Sections:

Fix with 10% NBF 4min

Water Wash 5min

- 0.3% Acid Alcohol

1,550 mL………………..……. 100% Ethanol

- 444 mL………………...………diH2O

6 mL …………………...…..….HCl

- 0.2% Ammonia Water

1,996 mL ……………….…..….diH2O

4 mL…………………………...Ammonium Hydroxide